Please complete one form for each instrument and return the form to Mehboob.Rathod@stgeorges.nhs.uk.

## 1.	Customer Details

| Customer's Name and Address: |  |  |  |
| --- | --- | --- | --- |
| Contact Name: |  |  |  |
| Department: |  |  |  |
| Establishment |  |  |  |
| Address |  |  |  |
| Email address |  |  |  |
| Postcode |  | Tel: |  |
| Customer's order No: |  | Fax: |  |

| Invoice Address: (if different from above) |  |  |  |
| --- | --- | --- | --- |
| Contact Name |  |  | JPL Job No. |
| Department: |  |  |  |
| Address: |  |  | Office use only |

## 2.	Instrument Details

Dosemeter / kilovoltage meter	Delete as applicable

Repair required:	Yes / No	Delete as applicable

| Instrument Make | Model | Serial No |
| --- | --- | --- |
| Ion Chamber / kV sensor | Make and Model | Serial No. |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

## 3.	Energy Points required

Indicate the kV points at which calibration is required by selecting the appropriate chamber or kV sensor  (from 2 above) under the desired waveform(s) at the kV required.  If the instrument concerned has an integral chamber or a built in kV detector circle “1”.

ION CHAMBER (Diagnostic & Mammographic)

(i) Medium Frequency waveform, Diagnostic (RQR qualities)

| kV required | RQR 3 (50kV) |  |  |  |  | RQR 4 (60kV) |  |  |  |  |  | RQR 5 (70kV) |  |  |  |  | RQR 6 (80kV) |  |  |  |  | RQR 7 (90kV) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chamber | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 |  | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 |
| kV required | RQR 8 (100kV) |  |  |  |  | RQR 9 (120kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chamber | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

(ii) Medium Frequency waveform, Diagnostic (RQT qualities)

| kV required | RQT 8 (100kV) |  |  |  |  | RQT 9 (120kV) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chamber | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 |  |

(iii)Medium Frequency waveform, Mammographic (RQR-M1 to RQR-M4 (ION CHAMBERS ONLY: total filtration 30µm Mo + 1mm Be.  SOLID STATE SENSORS ONLY: total filtration30µm Mo +1mm Be).

| kV required | RQR-M1 (25kV) |  |  |  |  | RQR-M2 (28kV) |  |  |  |  | RQR-M3 (30kV) |  |  |  |  | RQR-M4 (35kV) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chamber | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 |

KV SENSOR (Diagnostic & Mammographic)

(iv) Constant Potential waveform, Diagnostic (total filtration 2.5mm Al).

| kV required | 50kV |  |  |  |  | 60kV |  |  |  |  |  | 70kV |  |  |  |  | 90kV |  |  |  |  | 96kV |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kV sensor | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 |  | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 |
| kV required | 141kV |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| kV sensor | 1 | 2 | 3 | 4 | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

(v) High Frequency waveform, Mammographic (total filtration 30µm Mo for kV sensors ONLY).

A W/Rh filter combination is also offered but is not a UKAS certified calibration

| kV required | 25kV |  |  |  |  | 28kV |  |  |  |  |  | 30kV |  |  |  |  | 32kV |  |  |  |  | 35kV |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kV sensor | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 |  | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 |

Please tick as appropriate:

|  |  |  |  |  |  |  |  |  | YES | NO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Calibration due date required on certificate: |  |  |  |  |  |  |  |  |  |  |
| Statement of conformity required on certificate (see below): |  |  |  |  |  |  |  |  |  |  |
| Adjustment into tolerance required (only if technically possible): |  |  |  |  |  |  |  |  |  |  |

Return of Instrument (please tick as appropriate):

| JPL’s Courier: |  | OR Customer’s own arrangements: |  |
| --- | --- | --- | --- |

N.B. please ensure that, if you use your own courier, they can and will deliver directly to JPL, otherwise delays can occur.

I the undersigned apply, on behalf of the above organisation, for the above service

| Name: (capitals please) |  | Position |  |
| --- | --- | --- | --- |
| Signature |  | Date |  |

The following statement of conformity/nonconformity shall be stated on the calibration certificate :

Pass (P):

Results ± expanded uncertainty within limits/specifications based on the 95% level of confidence.

The measured result therefore complies with the manufacturer’s specification.

Indeterminate (P#):

Results ± expanded uncertainty overlaps limits/specifications based on the 95% level of confidence.  However, the result indicates that conformity with the manufacturer’s specification is more probable than nonconformity.

Indeterminate (F#):

Results ± expanded uncertainty overlaps limits/specifications based on the 95% level of confidence.  . However, the result indicates that nonconformity with the manufacturer’s specification is more probable than conformity.

Fail (F):

Results ± expanded uncertainty exceeds limits/specifications based on the 95% level of confidence.

The measured result therefore does not comply with the manufacturer’s specification.

Disclaimer:

Any reporting of opinions and interpretations of the results stated on the calibration certificate is not part of UKAS accreditation